RNA isolation and quality checks from paraffin blocks

Preparation of paraffin sections

Materials:

- Paraffin blocks (stored at 4°)

- Autoclaved tweezers

- Autoclaved eppendorftubes (2 ml)

- Dry ice

- Label autoclaved eppendorftubes (2 ml) and place them on dry ice

- Place cooled paraffinblock on the microtome

- Remove the upper layer of the paraffinblock (exposed to air) by making 2 – 3 cuts

- Collect 4 sections à 10 µm in the autoclaved eppendorftube

- Place tube on dry ice and stored at -70 °C until RNA isolation

RNeasy FFPE kit for purification of total RNA from formalin-fixed, paraffin-embedded tissue sections

Prepare:

- Sterile, RNase-free pipette tips

- 1.5 ml or 2 ml eppendorf tubes

- Centrifuge (set temperature to 20-25 °C)

- Vortexer

- 100 % Ethanol

- Deparaffination solution (Cat. no.: 19093)

- Qiagen FFPE kit (Ref.: 73504)

- Heating block or water bath capable of incubating at 80 °C

Set heating block to 56 °C

- Ice bath

- Columns (to be stored at 4 °C)

Prepare reagents:

Prepare DNase I solution

Inject RNase-free water (550 µl RNase-free water) into the vial using an RNase-free needle and syringe. Mix by inverting the vial. DO NOT VORTEX

Store in aliquots at -30 °C to -15 °C for up to 9 months

Prepare Buffer RPE

Add 44 ml of ethanol (96 -100 %) to the bottle containing 11 ml Buffer RPE concentrate.

Protocol:

- Equilibrate all buffers to room temperature

- Add 320 µl Deparaffinization solution to the 2 ml tube containing the 4 sections. Vortex for 10s, centrifuge briefly to bring the sample to the bottom of the tube

- Incubate at 56 °C for 3 mins, then allow to cool at room temperature

- Add 240 µl Buffer PKD, vortex

- Centrifuge for 1 min at 11.000 x g (10.000 rpm)

- Add 10 µl proteinase K to the lower, clear phase. Mix gently by pipetting up and down.

- Incubate at 56 °C for 15 min, then at 80 °C for 15 mins. Mix by vortexing every 3-5 mins.

- Transfer the lower, uncolored Phase into a 2 ml microcentrifuge tube

- Incubate on ice for 3 min, Then, centrifuge for 15 mins at 20.000 x g (13.500 rpm)

- Transfer the supernatant to a new microcentrifuge tube. Do not disturb the pellet

- Add DNA Booster Buffer equivalent to a tenth of the total sample volume                  (around 25 µl) and 10 µl DNA I stock solution. Mix by inverting the tube. Centrifuge briefly to collect residual liquid from the sides of the tube

- Incubate at room temperature for 15 mins

- Add 500 µl Buffer RBC to adjust binding conditions. Mix the lysate thoroughly.

- Add 1200 µl 100 % ethanol to the sample, mix well by pipetting. Do not centrifuge

- Transfer 700 µl of the sample, including any precipitate that may have formed, to an RNeasy MinElute spin colums placed in a 2 ml collection tube. Centrifuge for 15 s at 8000 g ( > 10.000 rpm). Discard the flow throw. Reuse collection tube

- Repeat step 17 until the entire sample has passed throw the RNeasy MinElute spin column

- Reuse collection tube. Add 500 µl Buffer RPE to the RNeasy MinElute spin column. Centrifuge for 15 s at 8000 g ( > 10.000 rpm). Discard the flow throw.

- Reuse the collection tube. Add 500 µl Buffer RPE to the RNeasy MinElute spin column. Centrifuge for 15 s at 8000 g ( > 10.000 rpm) to wash the spin column membrane. Discard the collection tube with the flow throw.

- After centrifugation, carefully remove the RNeasy MinElute spin colums from the collection tube so that the column does not contact the flow throw

- Place the Rneasy MinElute spin column in a new 2 ml collection tube. Open the lid of the spin column and centrifuge at full speed for 5 min. Discard the collaction tube with the flow throw.

- Place the Rneasy MinElute spin column in a new 1.5 ml collection tube. Add 14-30 ul (we use 30 ul for MechOmics) RNase-free water directly to the spin column membrane. Close lid, centrifuge for 1 min at full speed to elute the RNA.

RNA quality checks

Determination of dw200 ratio at TapeStation of SIAF

Agilent RNA ScreenTape System Quick Guide